| BOILER SAFETY BUREAU CONFINED SPACE ENTRY PERMIT – Attachment 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| This permit must be completed prior to entry into the confined space |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of Entry: |  |  |  |  |  |  |  |  |  |  |  |  |  | Time of Entry: |  |  |  |  |  |  |  |  |  |  |  |  | Permit expiration Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Location: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Type of space: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NC# |  |  |  |  |  |  | Type of equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Work to be performed: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Anticipated time needed to complete work: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Anticipated Hazards: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attendants Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Position |  |  |  |  |  |  |  |  |  |  |  |  | Employer |  |  |  |  |  |  |  |  |  |  |
| Attendant Qualified - Yes |  |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  | See reverse side |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Communication Equipment to be used by the attendant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Entrants Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pre-Entry survey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monitor Used ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Calibrated Verified |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Acceptable conditions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Atmospheric |  |  |  |  |  | Oxygen |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 19.5 % to 23.5 % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Checks: |  |  |  |  |  | Explosive |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ‹10% L.E.L./L.F.L |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Toxic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0-35 PPM Carbon Monoxide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0-10 PPM Hydrogen Sulfide |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Atmospheric Tester's Initials: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Times: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Isolation Tag out –Lock out |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A | Yes | No |  |  |
| Pumps or lines blocked, blinded, or disconnected. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical isolation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Isolate source of mechanical energy. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Configuration Hazards: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No permit required for this confined space all hazards have been eliminated. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Entry Supervisor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |  |  |  |  |  |  |
| Complete the rest of this permit for Permit Required and Alternate Entry Confined Spaces |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Ventilation: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mechanical (Alternate Entry) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Natural ventilation only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Atmospheric checks after isolation and ventilation, if applicable: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oxygen: |  |  |  |  |  |  |  |  |  |  | % O2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Explosive: |  |  |  |  |  |  |  |  |  |  | % L.E.L |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Toxic: |  |  |  |  |  |  |  |  |  |  | PPM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Tagout/Lockout procedures in place |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Direct reading sampling device which is properly calibrated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Safety harnesses and lifelines for entrants and attendants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mechanical retrieval/hosting equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Communication equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Respirator – 3M Half face Cartridge P-100 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Personal protective equipment and clothing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Equipment continued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical equipment/Lighting/Non sparking Tools |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Traffic barriers/entrance covers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Entrant(s), attendant(s), and rescue personnel have successfully completed required training. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| * See requirements below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Rescue operations have been qualified, notified and communication procedures reviewed: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| BOILER SAFETY BUREAU CONFINED SPACE ENTRY PERMIT (continued) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Record Atmospheric checks at no less than 1 hour intervals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  |  |  |  |  |  |
| Atmospheric Oxygen |  |  |  |  |  |  |  |  |  |  |  |  | 19.5 % to 23.5 % |  |  |  |  |  |
| Checks: Explosive |  |  |  |  |  |  |  |  |  |  |  |  | ‹10% L.E.L./L.F.L. |  |  |  |  |  |
| Toxic |  |  |  |  |  |  |  |  |  |  |  |  | 0-35 ppm Carbon Monoxide |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 0-10 ppm Hydrogen Sulfide |  |  |  |  |  |
| Attendant Duties: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Do not leave the opening. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Perform no other duties. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Maintain accurate count of entrants. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Test and record atmospheric readings hourly. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Communicate with entrants frequently. - Warn unauthorized persons and activities away from confined space - Summon Entry Supervisor if unauthorized persons and activities cannot be warned off. - Summon rescue services if needed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Order evacuation if; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Sign or symptom of exposure to dangerous situation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - A condition out of compliance with the permit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - An entrant does not answer communication. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - If he/she is unable to continue function as attendant. - If unauthorized persons cannot be warned off. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Rescue Service Qualification: |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  | No |  |  |
| Can the rescue service reach the victim in time? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does the rescue service understand the hazards of the space? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are there personnel on duty qualified in first aid and CPR? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Do rescue personnel understand entry procedures? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Do rescue personnel understand how to use rescue equipment? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Has the rescue service practiced confined space rescues at least annually? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No permit required entry is allowed if the answer is no to any rescue service question! |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This permit is valid for only 8 hours. For this entry: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | All identified hazards have been isolated or eliminated and space is not permit-required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | The identified hazards will be controlled through forced air ventilation and air monitoring. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | The space is permit-required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I have reviewed the work authorized by this permit and the information pertaining to each item. Safety procedures have been received and are understood by all personnel. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Entry Supervisor: |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  |
| Permit closed: Exit Date |  |  |  |  |  |  |  | Time: |  |  |  |  |  |  |  |  |  |  |