|  | Employee Safety and Health Program Unit and Field Office Inspection Form |
| --- | --- |

Provide copy of this completed form to the Bureau Chief, and the Employee Safety and Health Program via Amanda Carroll (amanda.carroll@labor.nc.gov) to be uploaded to the intranet and the specific Unit.

| Unit: District 1 | Location of Inspection: Asheville Office |
| --- | --- |
| Inspection Team: | Date of Inspection: June 27, 2023 |
| - Kristie Hall |  |
|  | Unit Manager: Kay Knezevich |
|  | Additional Comments: |
|  | No comments. |

Inspection Information

| Electrical Cords and Outlets: Check appropriate box when condition is identified and add notation |  |  |  |
| --- | --- | --- | --- |
|  | Cords in walkways |  | Extension cords used as permanent wiring |
|  | Damaged cords (any type) |  | Exposed energized parts |
|  | Missing ground pin on electrical cord |  | Daisy chain (power strip plugged into another power strip) |
|  | Excessively warm/overheated cords or equipment |  | Outlet missing cover or broken cover |
|  |  |  | Two prong adapters used or two prong extension cord |
| Additional Comments, notations, and abatement information (including date): No Comments |  |  |  |
| Fire Hazards and Egress: Check appropriate box when condition is identified and make notation |  |  |  |
|  | Items stored within 3 feet of a heater and/or heat source |  | Blocked fire extinguishers |
|  | Emergency Exit lighting is NOT working correctly |  | Exit doors in working condition |
|  | Space heaters meet testing laboratories criteria (Identify) |  | Block Exit doors |
|  | Flammable/Combustibles stored correctly |  | Chemicals stored correctly |
|  | Excessively warm/overheated cords or equipment |  | Fire extinguishers inspected (identify by Serial #): Kiddie Fire Extinguishers (#RD-379022 and #RD-379023) # |
| Additional Comments, notations, and abatement information (including date): The AED (Cardiac Science) defibrillator was checked, and it was in its designated location, there was no damage or missing parts, the battery was charged, and the AED pads were current. Was |  |  |  |

Inspection Division/Bureau: NC DOL/OSH/Employee Safety and Health Steering Committee Document Name: Unit Inspection form Document Owner: Safety and Health Steering Committee