	[image: image1.jpg]



	Employee Safety and Health Program

Unit and Field Office Inspection Form


Provide copy of this completed form to the Bureau Chief, and the Employee Safety and Health Program via Jay Cronley (jay.cronleyl@labor.nc.gov). To be uploaded to the intranet and the specific Unit.

	Unit: 
	Location of Inspection:  

	Inspection Team:
	Date of Inspection: 

	1. 
	

	
	Unit Manager: 

	2. 
	Additional Comments:

	
	

	3. 
	


Inspection Information

	Electrical Cords and Outlets: Check appropriate box when condition is identified and add notation

	
	Cords in walkways
	
	Extension cords used as permanent wiring

	
	Damaged cords (any type)
	
	Exposed energized parts

	
	Missing ground pin on electrical cord
	
	Daisy chain (power strip plugged into another power strip)

	
	Excessively warm/overheated cords or equipment:
	
	Outlet missing cover or broken cover

	
	
	
	Two prong adapter used or two prong extension cord

	Additional Comments, notations, and abatement information (including date):


	Fire Hazards and Egress: Check appropriate box when condition is identified and make notation

	
	Items stored within 3 feet of a heater and/or heat source
	
	Blocked fire extinguishers

	
	Emergency Exit lighting is working correctly
	
	Exit doors in working condition

	
	Space heaters meet testing laboratories criteria (Identify)
	
	Block Exit doors

	
	Flammable/Combustibles stored correctly
	
	Chemicals stored correctly

	
	Excessively warm/overheated cords or equipment:
	
	Fire extinguishers inspected (identify by Serial #)

	Additional Comments, notations, and abatement information (including date):  


Inspection Division/Bureau: NC DOL/OSH/Employee Safety and Health Steering Committee Document Name: Unit Inspection form Document Owner: Safety and Health Steering Committee

